## Config
Start | 2023-11-08 10:00 | USWRCKY.MAB006.AJA10.BA001.WCNV1.AvPPVPhs.mag.f | USWRCKY.MAB006.AJA10.BA001.WCNV1.GriA.cVal.mag.f | USWRCKY.MAB006.AJA10.WTUR1.GriAvl.stVal | USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsAGriPNV.cVal.mag.f | USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsBGriPNV.cVal.mag.f | USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsCGriPNV.cVal.mag.f | USWRCKY.MAB006.AxA10.BE001.WCNV1.GriHz.mag.f | USWRCKY.MAB006.AxA10.BJ001.WTUR1.W.mag.f | USWRCKY.MAB006.DBB10.WTUR1.StErr.stVal | USWRCKY.MAB006.DBB10.WTUR1.TmpMainBx.mag.f | USWRCKY.MAB006.DBB10.WTUR1.TmpTopBx.mag.f | USWRCKY.MAB006.DBB10.WTUR1.TurAvl.stVal | USWRCKY.MAB006.DBB10.WTUR1.TurSt.stVal | USWRCKY.MAB006.DBB10.WYAW1.CmdYwLeft.stVal | USWRCKY.MAB006.DBB10.WYAW1.CmdYwRght.stVal | USWRCKY.MAB006.DBB10.WYAW1.CmdYwStop.stVal | USWRCKY.MAB006.DBF10.WTUR1.AlmCod.stVal | USWRCKY.MAB006.MDA10.BG001.WROT1.Bl1PthAngTgt.mag.f | USWRCKY.MAB006.MDA10.BG001.WROT1.Bl1PthAngVal.mag.f | USWRCKY.MAB006.MDA10.BG002.WROT1.Bl2PthAngTgt.mag.f | USWRCKY.MAB006.MDA10.BG002.WROT1.Bl2PthAngVal.mag.f | USWRCKY.MAB006.MDA10.BG003.WROT1.Bl3PthAngTgt.mag.f | USWRCKY.MAB006.MDA10.BG003.WROT1.Bl3PthAngVal.mag.f | USWRCKY.MAB006.MDA20.BS901.WGEN1.RotSpdSpt.val.mxVal.f | USWRCKY.MAB006.MDA20.BS901.WROT1.RotSpd.mag.f | USWRCKY.MAB006.MDK10.BS001.WTRM1.ShftVbr.mag.f | USWRCKY.MAB006.MDK10.BT001.WTRM1.GbxBrg1Tmp.mag.f | USWRCKY.MAB006.MDK20.BT001.WTRM1.GbxTmp.mag.f | USWRCKY.MAB006.MDK50.BT001.WTRM1.GbxBrgTmp.mag.f | USWRCKY.MAB006.MDL10.BG001.WYAW1.CabWup.mag.f | USWRCKY.MAB006.MKA30.BT001.WGEN1.SttTmp.mag.f | USWRCKY.MAB006.MKA30.BT002.WGEN1.RotTmp.mag.f | USWRCKY.MAB006.MKA40.BS901.WGEN1.RotSpd.mag.f | USWRCKY.MAB006.MKA40.BS901.WGEN1.RotSpdSpt2.val.mxVal.f | USWRCKY.MAB006.MKA40.CS901.WCNV1.CnvGnRotSpd.mag.f | USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsAGriA.cVal.mag.f | USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsBGriA.cVal.mag.f | USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsCGriA.cVal.mag.f | USWRCKY.MAB006.MKC10.BJ011.WTUR1.VAr.mag.f | USWRCKY.MAB006.MKD21.BT001.WGEN1.Brg1Tmp.mag.f | USWRCKY.MAB006.MKD22.BT001.WGEN1.Brg2Tmp.mag.f | USWRCKY.MAB006.MKJ10.BT001.WGEN1.InletTmp.mag.f | USWRCKY.MAB006.MKY10.BJ031.WCNV1.GriPF.cVal.mag.f | USWRCKY.MAB006.MUD10.BG001.WNAC1.Dir.mag.f | USWRCKY.MAB006.MUD10.BT001.WNAC1.IntnTmp.mag.f | USWRCKY.MAB006.MYA10.KF003.WTUR1.ComSt.stVal | USWRCKY.MAB006.UMD10.BG001.WMET1.InsWdDir.mag.f | USWRCKY.MAB006.UMD10.BS001.WMET1.HorWdSpd.mag.f | USWRCKY.MAB006.UMD10.BS011.WROT1.NacDv1sec.mag.f | USWRCKY.MAB006.UMD10.BS011.WTOW1.TowVbr.mag.f | USWRCKY.MAB006.UMD10.BT001.WMET1.EnvTmp.mag.f | USWRCKY.MAB006.UMD29.BT001.WMET1.GndEnvTmp.mag.f
End | 2023-11-08 11:00

## Data
| USWRCKY.MAB006.AJA10.BA001.WCNV1.AvPPVPhs.mag.f |  | USWRCKY.MAB006.AJA10.BA001.WCNV1.GriA.cVal.mag.f |  | USWRCKY.MAB006.AJA10.WTUR1.GriAvl.stVal |  | USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsAGriPNV.cVal.mag.f |  | USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsBGriPNV.cVal.mag.f |  | USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsCGriPNV.cVal.mag.f |  | USWRCKY.MAB006.AxA10.BE001.WCNV1.GriHz.mag.f |  | USWRCKY.MAB006.AxA10.BJ001.WTUR1.W.mag.f |  | USWRCKY.MAB006.DBB10.WTUR1.StErr.stVal |  | USWRCKY.MAB006.DBB10.WTUR1.TmpMainBx.mag.f |  | USWRCKY.MAB006.DBB10.WTUR1.TmpTopBx.mag.f |  | USWRCKY.MAB006.DBB10.WTUR1.TurAvl.stVal |  | USWRCKY.MAB006.DBB10.WTUR1.TurSt.stVal |  | USWRCKY.MAB006.DBB10.WYAW1.CmdYwLeft.stVal |  | USWRCKY.MAB006.DBB10.WYAW1.CmdYwRght.stVal |  | USWRCKY.MAB006.DBB10.WYAW1.CmdYwStop.stVal |  | USWRCKY.MAB006.DBF10.WTUR1.AlmCod.stVal |  | USWRCKY.MAB006.MDA10.BG001.WROT1.Bl1PthAngTgt.mag.f |  | USWRCKY.MAB006.MDA10.BG001.WROT1.Bl1PthAngVal.mag.f |  | USWRCKY.MAB006.MDA10.BG002.WROT1.Bl2PthAngTgt.mag.f |  | USWRCKY.MAB006.MDA10.BG002.WROT1.Bl2PthAngVal.mag.f |  | USWRCKY.MAB006.MDA10.BG003.WROT1.Bl3PthAngTgt.mag.f |  | USWRCKY.MAB006.MDA10.BG003.WROT1.Bl3PthAngVal.mag.f |  | USWRCKY.MAB006.MDA20.BS901.WGEN1.RotSpdSpt.val.mxVal.f |  | USWRCKY.MAB006.MDA20.BS901.WROT1.RotSpd.mag.f |  | USWRCKY.MAB006.MDK10.BS001.WTRM1.ShftVbr.mag.f |  | USWRCKY.MAB006.MDK10.BT001.WTRM1.GbxBrg1Tmp.mag.f |  | USWRCKY.MAB006.MDK20.BT001.WTRM1.GbxTmp.mag.f |  | USWRCKY.MAB006.MDK50.BT001.WTRM1.GbxBrgTmp.mag.f |  | USWRCKY.MAB006.MDL10.BG001.WYAW1.CabWup.mag.f |  | USWRCKY.MAB006.MKA30.BT001.WGEN1.SttTmp.mag.f |  | USWRCKY.MAB006.MKA30.BT002.WGEN1.RotTmp.mag.f |  | USWRCKY.MAB006.MKA40.BS901.WGEN1.RotSpd.mag.f |  | USWRCKY.MAB006.MKA40.BS901.WGEN1.RotSpdSpt2.val.mxVal.f |  | USWRCKY.MAB006.MKA40.CS901.WCNV1.CnvGnRotSpd.mag.f |  | USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsAGriA.cVal.mag.f |  | USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsBGriA.cVal.mag.f |  | USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsCGriA.cVal.mag.f |  | USWRCKY.MAB006.MKC10.BJ011.WTUR1.VAr.mag.f |  | USWRCKY.MAB006.MKD21.BT001.WGEN1.Brg1Tmp.mag.f |  | USWRCKY.MAB006.MKD22.BT001.WGEN1.Brg2Tmp.mag.f |  | USWRCKY.MAB006.MKJ10.BT001.WGEN1.InletTmp.mag.f |  | USWRCKY.MAB006.MKY10.BJ031.WCNV1.GriPF.cVal.mag.f |  | USWRCKY.MAB006.MUD10.BG001.WNAC1.Dir.mag.f |  | USWRCKY.MAB006.MUD10.BT001.WNAC1.IntnTmp.mag.f |  | USWRCKY.MAB006.MYA10.KF003.WTUR1.ComSt.stVal |  | USWRCKY.MAB006.UMD10.BG001.WMET1.InsWdDir.mag.f |  | USWRCKY.MAB006.UMD10.BS001.WMET1.HorWdSpd.mag.f |  | USWRCKY.MAB006.UMD10.BS011.WROT1.NacDv1sec.mag.f |  | USWRCKY.MAB006.UMD10.BS011.WTOW1.TowVbr.mag.f |  | USWRCKY.MAB006.UMD10.BT001.WMET1.EnvTmp.mag.f |  | USWRCKY.MAB006.UMD29.BT001.WMET1.GndEnvTmp.mag.f
Timestamp (EST) | Rocky Ridge 34.5 WTB06 Grid voltage, CCU (V) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Grid current (A) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Grid Availability | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Voltage A to N (V) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Voltage B to N (V) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Voltage C to N (V) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Line frequency (Hz) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Active power (kW) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 STATE ERROR | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. main box (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. top box (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 WTG Availability | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Operating State | Timestamp (EST) | Rocky Ridge 34.5 WTB06 CMD Turn Yaw Left | Timestamp (EST) | Rocky Ridge 34.5 WTB06 CMD Turn Yaw Right | Timestamp (EST) | Rocky Ridge 34.5 WTB06 CMD Stop Turning Yaw | Timestamp (EST) | Rocky Ridge 34.5 WTB06 State and Fault | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Blade 1 pitch angle setpoint (deg) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Blade 1 pitch angle (deg) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Blade 2 pitch angle setpoint (deg) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Blade 2 pitch angle (deg) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Blade 3 pitch angle setpoint (deg) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Blade 3 pitch angle (deg) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Gen. speed setpoint, pitch (rpm) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Rotor speed, PLC (rpm) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Drive train acceleration (mm/s^2) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. gearbox bearing (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. gearbox oil (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. main shaft bearing (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Nacelle yaw position | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. gen. stator winding 1 (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. gen. stator winding 2 (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Generator speed, PLC (rpm) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Gen. speed setpoint, torque (rpm) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Generator speed, CCU (rpm) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Current A (A) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Current B (A) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Current C (A) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Reactive power (kVAr) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. generator bearing DS (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. generator bearing NDS (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. gen. cooling system (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Power factor | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Nacelle yaw direction (deg) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Nacelle temp. (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Communication Status | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Wind direction (deg) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Wind speed (m/s) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Relative wind direction 1 s (deg) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Tower acceleration (mm/s^2) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. ambient, hub level (deg C) | Timestamp (EST) | Rocky Ridge 34.5 WTB06 Temp. ambient, ground level (deg C)
2023-11-08 10:00 | Out of Serv | 2023-11-08 10:00 | Out of Serv | 2023-11-08 10:00 | AVAILABLE | 2023-11-08 10:00 | Out of Serv | 2023-11-08 10:00 | 398.7608 | 2023-11-08 10:00 | 398.0645 | 2023-11-08 10:00 | 59.9796 | 2023-11-08 10:00 | -6.0152 | 2023-11-08 10:00 | OK | 2023-11-08 10:00 | 26.9375 | 2023-11-08 10:00 | 37.5625 | 2023-11-08 10:00 | UNAVAILABLE | 2023-11-08 10:00 | 203 | 2023-11-08 10:00 | OFF | 2023-11-08 10:00 | OFF | 2023-11-08 10:00 | OFF | 2023-11-08 10:00 | 12 | 2023-11-08 10:00 | 85 | 2023-11-08 10:00 | 85.0555 | 2023-11-08 10:00 | 82.1593 | 2023-11-08 10:00 | 84.9825 | 2023-11-08 10:00 | 82.1593 | 2023-11-08 10:00 | 85.0548 | 2023-11-08 10:00 | 0 | 2023-11-08 10:00 | 0.91385 | 2023-11-08 10:00 | 15.9838 | 2023-11-08 10:00 | 44.3486 | 2023-11-08 10:00 | 45.1931 | 2023-11-08 10:00 | 27.4118 | 2023-11-08 10:00 | 0.56445 | 2023-11-08 10:00 | 41.812 | 2023-11-08 10:00 | 41.599 | 2023-11-08 10:00 | 88.1744 | 2023-11-08 10:00 | 0 | 2023-11-08 10:00 | 88.1628 | 2023-11-08 10:00 | Out of Serv | 2023-11-08 10:00 | 5.3463 | 2023-11-08 10:00 | 4.8828 | 2023-11-08 10:00 | -15.4173 | 2023-11-08 10:00 | 32.1866 | 2023-11-08 10:00 | 35.3739 | 2023-11-08 10:00 | 35.0196 | 2023-11-08 10:00 | 0.36954 | 2023-11-08 10:00 | 105 | 2023-11-08 10:00 | 24.2405 | 2023-11-08 10:00 | OFF | 2023-11-08 10:00 | Out of Serv | 2023-11-08 10:00 | Out of Serv | 2023-11-08 10:00 | Out of Serv | 2023-11-08 10:00 | 127.9913 | 2023-11-08 10:00 | 21.5025 | 2023-11-08 10:00 | 21.1075
2023-11-08 10:04 | 398.2676 | 2023-11-08 10:04 | 4.9077 | 2023-11-08 11:00 | AVAILABLE | 2023-11-08 10:03 | 397.683 | 2023-11-08 10:02 | 398.7608 | 2023-11-08 10:02 | 398.0645 | 2023-11-08 10:01 | 59.9796 | 2023-11-08 10:02 | -6.0152 | 2023-11-08 10:46 | ALARM | 2023-11-08 10:03 | 26.9375 | 2023-11-08 11:00 | 37.5625 | 2023-11-08 10:46 | AVAILABLE | 2023-11-08 10:45 | 601 | 2023-11-08 11:00 | OFF | 2023-11-08 11:00 | OFF | 2023-11-08 11:00 | OFF | 2023-11-08 10:45 | 3 | 2023-11-08 11:00 | 85 | 2023-11-08 11:00 | 85.0555 | 2023-11-08 11:00 | 82.1593 | 2023-11-08 11:00 | 84.9825 | 2023-11-08 11:00 | 82.1593 | 2023-11-08 11:00 | 85.0548 | 2023-11-08 10:13 | 0 | 2023-11-08 10:12 | 0.88236 | 2023-11-08 10:02 | 15.9838 | 2023-11-08 10:07 | 44.3486 | 2023-11-08 10:07 | 45.1931 | 2023-11-08 11:00 | 27.4118 | 2023-11-08 10:07 | 0.56445 | 2023-11-08 10:07 | 41.812 | 2023-11-08 10:07 | 41.599 | 2023-11-08 10:11 | 89.3762 | 2023-11-08 10:13 | 0 | 2023-11-08 10:11 | 89.5941 | 2023-11-08 10:03 | 4.494 | 2023-11-08 10:03 | 5.3463 | 2023-11-08 10:03 | 4.8828 | 2023-11-08 10:02 | -15.4173 | 2023-11-08 10:07 | 32.1866 | 2023-11-08 10:07 | 35.3739 | 2023-11-08 10:07 | 35.0196 | 2023-11-08 10:01 | 0.36954 | 2023-11-08 10:01 | 105 | 2023-11-08 10:07 | 24.2405 | 2023-11-08 10:03 | ON | 2023-11-08 10:11 | 111 | 2023-11-08 10:03 | 10.1 | 2023-11-08 10:02 | Out of Serv | 2023-11-08 10:02 | 127.9913 | 2023-11-08 11:00 | 21.5025 | 2023-11-08 11:00 | 21.1075
2023-11-08 10:09 | 398.1274 | 2023-11-08 10:14 | 4.9077 |  |  | 2023-11-08 10:05 | 397.9088 | 2023-11-08 10:03 | 399.0551 | 2023-11-08 10:05 | 398.3479 | 2023-11-08 10:11 | 59.9796 | 2023-11-08 10:03 | -4.5102 | 2023-11-08 10:50 | OK | 2023-11-08 10:11 | 27.75 |  |  | 2023-11-08 10:49 | UNAVAILABLE | 2023-11-08 10:48 | 16 | [6 empty] | 2023-11-08 10:48 | 2 | [12 empty] | 2023-11-08 11:00 | 1149.1199 | 2023-11-08 10:42 | 0.57552 | 2023-11-08 10:03 | 20.8829 | 2023-11-08 10:11 | 43.3532 | 2023-11-08 10:11 | 44.197 |  |  | 2023-11-08 10:11 | 0.58984 | 2023-11-08 10:11 | 39.7353 | 2023-11-08 10:11 | 39.584 | 2023-11-08 10:12 | 80.9941 | 2023-11-08 11:00 | 700.9744 | 2023-11-08 10:12 | 82.4343 | 2023-11-08 10:13 | 4.494 | 2023-11-08 10:13 | 5.3463 | 2023-11-08 10:13 | 4.8828 | 2023-11-08 10:03 | -4.2014 | 2023-11-08 10:11 | 31.4964 | 2023-11-08 10:11 | 33.8323 | 2023-11-08 10:11 | 33.4986 | 2023-11-08 10:11 | 0.36954 | 2023-11-08 10:11 | 105 | 2023-11-08 10:11 | 24.9015 | 2023-11-08 10:18 | OFF | 2023-11-08 10:12 | 112 | 2023-11-08 10:06 | 10.383 | 2023-11-08 10:11 | -1 | 2023-11-08 10:03 | 37.8555
2023-11-08 10:12 | 398.2553 | 2023-11-08 10:18 | Out of Serv |  |  | 2023-11-08 10:09 | 397.3246 | 2023-11-08 10:05 | 398.8043 | 2023-11-08 10:11 | 398.1265 | 2023-11-08 10:11 | 60.0034 | 2023-11-08 10:13 | -4.5102 | 2023-11-08 11:00 | OK | 2023-11-08 11:00 | 27.75 |  |  | 2023-11-08 11:00 | UNAVAILABLE | 2023-11-08 11:00 | 16 | [6 empty] | 2023-11-08 11:00 | 2 | [14 empty] | 2023-11-08 11:00 | 6.5033 | 2023-11-08 10:05 | 9.4389 | 2023-11-08 11:00 | 43.3532 | 2023-11-08 11:00 | 44.197 |  |  | 2023-11-08 10:14 | 0.57812 | 2023-11-08 10:41 | 39.7353 | 2023-11-08 10:41 | 39.584 | 2023-11-08 10:14 | 88.2536 |  |  | 2023-11-08 10:14 | 90.3769 | 2023-11-08 10:18 | Out of Serv | 2023-11-08 10:23 | 5.3463 | 2023-11-08 10:23 | 4.8828 | 2023-11-08 10:13 | -4.2014 | 2023-11-08 11:00 | 31.4964 | 2023-11-08 11:00 | 33.8323 | 2023-11-08 11:00 | 33.4986 | 2023-11-08 10:11 | 0.73592 | 2023-11-08 10:11 | 112 | 2023-11-08 10:41 | 24.9015 | 2023-11-08 10:27 | ON | 2023-11-08 10:15 | 115 | 2023-11-08 10:09 | 7.5558 | 2023-11-08 10:12 | 0 | 2023-11-08 10:05 | 25.1396
2023-11-08 10:18 | Out of Serv | 2023-11-08 10:27 | 4.9077 |  |  | 2023-11-08 10:11 | 397.549 | 2023-11-08 10:09 | 398.5739 | 2023-11-08 10:11 | 398.3932 | 2023-11-08 10:14 | 59.9887 | 2023-11-08 10:23 | -4.5102 | [34 empty] | 2023-11-08 10:06 | 13.9356 | [6 empty] | 2023-11-08 10:34 | 0.57812 | 2023-11-08 10:42 | 39.0963 | 2023-11-08 10:42 | 38.8915 | 2023-11-08 10:42 | 49.3879 |  |  | 2023-11-08 10:42 | 50.1279 | 2023-11-08 10:27 | 4.494 | 2023-11-08 10:33 | 5.3463 | 2023-11-08 10:27 | 6.4719 | 2023-11-08 10:23 | -4.2014 | [6 empty] | 2023-11-08 10:12 | 0.74142 | 2023-11-08 10:14 | 108 | 2023-11-08 10:42 | 25.8315 | 2023-11-08 10:33 | OFF | 2023-11-08 10:18 | Out of Serv | 2023-11-08 10:09 | 9.7258 | 2023-11-08 10:14 | 7 | 2023-11-08 10:06 | 33.5226
2023-11-08 10:19 | Out of Serv | 2023-11-08 10:33 | Out of Serv |  |  | 2023-11-08 10:11 | 397.7465 | 2023-11-08 10:09 | 398.7097 | 2023-11-08 10:13 | 398.2413 | 2023-11-08 10:24 | 59.9887 | 2023-11-08 10:33 | -4.5102 | [34 empty] | 2023-11-08 10:09 | 15.7036 | [6 empty] | 2023-11-08 10:42 | 0.61523 | 2023-11-08 11:00 | 39.0963 | 2023-11-08 11:00 | 38.8915 | 2023-11-08 11:00 | 557.3009 |  |  | 2023-11-08 11:00 | 557.6248 | 2023-11-08 10:33 | Out of Serv | 2023-11-08 10:43 | 5.3463 | 2023-11-08 10:37 | 6.4719 | 2023-11-08 10:33 | -4.2014 | [6 empty] | 2023-11-08 10:14 | 0.73494 | 2023-11-08 10:34 | 108 | 2023-11-08 11:00 | 25.8315 | 2023-11-08 10:42 | ON | 2023-11-08 10:42 | 121 | 2023-11-08 10:11 | 8.806 | 2023-11-08 10:17 | Out of Serv | 2023-11-08 10:09 | 24.5797
2023-11-08 10:27 | 397.9998 | 2023-11-08 10:42 | 5.4374 |  |  | 2023-11-08 10:12 | 397.5618 | 2023-11-08 10:11 | 398.912 | 2023-11-08 10:13 | 398.0688 | 2023-11-08 10:34 | 59.9887 | 2023-11-08 10:43 | -4.5102 | [34 empty] | 2023-11-08 10:11 | 9.4768 | [6 empty] | 2023-11-08 11:00 | 0.61523 | [10 empty] | 2023-11-08 10:42 | 4.494 | 2023-11-08 10:53 | 5.3463 | 2023-11-08 10:42 | 5.1068 | 2023-11-08 10:43 | -4.2014 | [6 empty] | 2023-11-08 10:24 | 0.73494 | 2023-11-08 10:42 | 121 |  |  | 2023-11-08 10:49 | OFF | 2023-11-08 10:45 | Out of Serv | 2023-11-08 10:11 | 9.4475 | 2023-11-08 10:42 | 0 | 2023-11-08 10:11 | 12.5649
2023-11-08 10:33 | Out of Serv | 2023-11-08 10:49 | Out of Serv |  |  | 2023-11-08 10:13 | 397.8102 | 2023-11-08 10:11 | 398.6263 | 2023-11-08 10:13 | 398.6508 | 2023-11-08 10:44 | 59.9887 | 2023-11-08 10:53 | -4.5102 | [34 empty] | 2023-11-08 10:11 | 14.1329 | [18 empty] | 2023-11-08 10:49 | Out of Serv | 2023-11-08 11:00 | 5.3463 | 2023-11-08 10:52 | 5.1068 | 2023-11-08 10:53 | -4.2014 | [6 empty] | 2023-11-08 10:34 | 0.73494 | 2023-11-08 11:00 | 121 |  |  | 2023-11-08 11:00 | OFF | 2023-11-08 11:00 | Out of Serv | 2023-11-08 10:12 | 8.9881 | 2023-11-08 10:45 | Out of Serv | 2023-11-08 10:11 | 16.7565
2023-11-08 10:34 | Out of Serv | 2023-11-08 10:50 | Out of Serv |  |  | 2023-11-08 10:13 | 397.6751 | 2023-11-08 10:13 | 398.8084 | 2023-11-08 10:14 | 398.2531 | 2023-11-08 10:54 | 59.9887 | 2023-11-08 11:00 | -4.5102 | [34 empty] | 2023-11-08 10:12 | 15.4873 | [18 empty] | 2023-11-08 10:59 | Out of Serv |  |  | 2023-11-08 11:00 | 5.1068 | 2023-11-08 11:00 | -4.2014 | [6 empty] | 2023-11-08 10:42 | 0.79771 | [8 empty] | 2023-11-08 10:13 | 10.383 | 2023-11-08 11:00 | Out of Serv | 2023-11-08 10:12 | 12.0026
2023-11-08 10:42 | 397.8738 | 2023-11-08 11:00 | Out of Serv |  |  | 2023-11-08 10:13 | 397.4986 | 2023-11-08 10:13 | 398.916 | 2023-11-08 10:14 | 398.3734 | 2023-11-08 11:00 | 59.9887 | [36 empty] | 2023-11-08 10:13 | 19.3351 | [18 empty] | 2023-11-08 11:00 | Out of Serv | [12 empty] | 2023-11-08 10:52 | 0.79771 | [8 empty] | 2023-11-08 10:13 | 7.7317 |  |  | 2023-11-08 10:13 | 20.3873
2023-11-08 10:44 | 391.5677 | 2023-11-08 11:00 | Out of Serv |  |  | 2023-11-08 10:13 | 397.6978 | 2023-11-08 10:13 | 398.5936 | 2023-11-08 10:15 | 398.0571 | [38 empty] | 2023-11-08 10:13 | 11.761 | [32 empty] | 2023-11-08 11:00 | 0.79771 | [8 empty] | 2023-11-08 10:13 | 9.819 |  |  | 2023-11-08 10:13 | 45.3987
2023-11-08 10:44 | 387.4765 |  |  |  |  | 2023-11-08 10:14 | 397.5418 | 2023-11-08 10:13 | 398.8992 | 2023-11-08 10:25 | 398.0571 | [38 empty] | 2023-11-08 10:13 | 14.1083 | [42 empty] | 2023-11-08 10:13 | 7.3808 |  |  | 2023-11-08 10:13 | 30.7283
2023-11-08 10:46 | 386.6682 |  |  |  |  | 2023-11-08 10:14 | 397.6755 | 2023-11-08 10:13 | 398.7549 | 2023-11-08 10:27 | 398.2653 | [38 empty] | 2023-11-08 10:13 | 10.7938 | [42 empty] | 2023-11-08 10:13 | 7.2067 |  |  | 2023-11-08 10:13 | 37.7142
2023-11-08 10:49 | Out of Serv |  |  |  |  | 2023-11-08 10:14 | 397.3804 | 2023-11-08 10:13 | 398.6329 | 2023-11-08 10:37 | 398.2653 | [38 empty] | 2023-11-08 10:14 | 16.6154 | [42 empty] | 2023-11-08 10:14 | 10.9551 |  |  | 2023-11-08 10:13 | 33.5226
2023-11-08 10:50 | Out of Serv |  |  |  |  | 2023-11-08 10:15 | 397.665 | 2023-11-08 10:14 | 398.9657 | 2023-11-08 10:42 | 397.9926 | [38 empty] | 2023-11-08 10:14 | 11.7232 | [42 empty] | 2023-11-08 10:14 | 8.8969 |  |  | 2023-11-08 10:13 | 20.2494
2023-11-08 11:00 | Out of Serv |  |  |  |  | 2023-11-08 10:18 | Out of Serv | 2023-11-08 10:14 | 398.4243 | 2023-11-08 10:43 | 391.8173 | [38 empty] | 2023-11-08 10:15 | 9.7671 | [42 empty] | 2023-11-08 10:15 | 10.383 |  |  | 2023-11-08 10:14 | 25.1396
2023-11-08 11:00 | Out of Serv |  |  |  |  | 2023-11-08 10:27 | 397.1969 | 2023-11-08 10:14 | 398.9267 | 2023-11-08 10:44 | 387.7502 | [38 empty] | 2023-11-08 10:25 | 9.7671 | [42 empty] | 2023-11-08 10:18 | Out of Serv |  |  | 2023-11-08 10:14 | 20.2494
[6 empty] | 2023-11-08 10:30 | 397.3574 | 2023-11-08 10:24 | 398.9267 | 2023-11-08 10:46 | 387.0431 | [38 empty] | 2023-11-08 10:27 | 5.9959 | [42 empty] | 2023-11-08 10:27 | 7.2936 |  |  | 2023-11-08 10:14 | 29.3311
[6 empty] | 2023-11-08 10:33 | Out of Serv | 2023-11-08 10:27 | 398.5372 | 2023-11-08 10:56 | 387.0431 | [38 empty] | 2023-11-08 10:28 | 7.1081 | [42 empty] | 2023-11-08 10:30 | 5.846 |  |  | 2023-11-08 10:24 | 29.3311
[6 empty] | 2023-11-08 10:42 | 397.1402 | 2023-11-08 10:28 | 398.2544 | 2023-11-08 11:00 | 386.1824 | [38 empty] | 2023-11-08 10:38 | 7.1081 | [42 empty] | 2023-11-08 10:33 | Out of Serv |  |  | 2023-11-08 10:27 | 21.6466
[6 empty] | 2023-11-08 10:43 | 391.0929 | 2023-11-08 10:30 | 398.4886 | [40 empty] | 2023-11-08 10:42 | 11.3099 | [42 empty] | 2023-11-08 10:42 | 4.7828 |  |  | 2023-11-08 10:28 | 33.5226
[6 empty] | 2023-11-08 10:44 | 386.9242 | 2023-11-08 10:40 | 398.4886 | [40 empty] | 2023-11-08 10:43 | 5.9844 | [42 empty] | 2023-11-08 10:43 | 6.4343 |  |  | 2023-11-08 10:38 | 33.5226
[6 empty] | 2023-11-08 10:46 | 386.0865 | 2023-11-08 10:43 | 391.7928 | [40 empty] | 2023-11-08 10:44 | 10.9605 | [42 empty] | 2023-11-08 10:44 | 4.7025 |  |  | 2023-11-08 10:42 | 29.3311
[6 empty] | 2023-11-08 10:49 | Out of Serv | 2023-11-08 10:44 | 387.7552 | [40 empty] | 2023-11-08 10:46 | 158.7197 | [42 empty] | 2023-11-08 10:46 | 4.9439 |  |  | 2023-11-08 10:43 | 12.5649
[6 empty] | 2023-11-08 10:59 | Out of Serv | 2023-11-08 10:46 | 386.8748 | [40 empty] | 2023-11-08 10:56 | 158.7197 | [42 empty] | 2023-11-08 10:49 | Out of Serv |  |  | 2023-11-08 10:44 | 4.8804
[6 empty] | 2023-11-08 11:00 | Out of Serv | 2023-11-08 10:56 | 386.8748 | [40 empty] | 2023-11-08 11:00 | 84.8053 | [42 empty] | 2023-11-08 11:00 | Out of Serv |  |  | 2023-11-08 10:46 | 25.1396
[8 empty] | 2023-11-08 11:00 | 386.096 | [88 empty] | 2023-11-08 10:56 | 25.1396
[98 empty] | 2023-11-08 11:00 | 38.4735