## Sheet1
Point | Description | Tag Type | Compression | Compression (Units) | Exception (Units)
USWRCKY.MAB006.AJA10.BA001.WCNV1.AvPPVPhs.mag.f | Rocky Ridge 34.5 WTB06 Grid voltage, CCU (V) | Measurement | ON | 0.2 | 0.1
USWRCKY.MAB006.AJA10.BA001.WCNV1.GriA.cVal.mag.f | Rocky Ridge 34.5 WTB06 Grid current (A) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.AJA10.WTUR1.GriAvl.stVal | Rocky Ridge 34.5 WTB06 Grid Availability | Status | ON | 0 | 0
USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsAGriPNV.cVal.mag.f | Rocky Ridge 34.5 WTB06 Voltage A to N (V) | Measurement | ON | 0.2 | 0.1
USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsBGriPNV.cVal.mag.f | Rocky Ridge 34.5 WTB06 Voltage B to N (V) | Measurement | ON | 0.2 | 0.1
USWRCKY.MAB006.AxA10.BA001.WCNV1.PhsCGriPNV.cVal.mag.f | Rocky Ridge 34.5 WTB06 Voltage C to N (V) | Measurement | ON | 0.2 | 0.1
USWRCKY.MAB006.AxA10.BE001.WCNV1.GriHz.mag.f | Rocky Ridge 34.5 WTB06 Line frequency (Hz) | Measurement | ON | 0.01 | 0.005
USWRCKY.MAB006.AxA10.BJ001.WTUR1.W.mag.f | Rocky Ridge 34.5 WTB06 Active power (kW) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.DBB10.WTUR1.StErr.stVal | Rocky Ridge 34.5 WTB06 STATE ERROR | Status | ON | 0 | 0
USWRCKY.MAB006.DBB10.WTUR1.TmpMainBx.mag.f | Rocky Ridge 34.5 WTB06 Temp. main box (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.DBB10.WTUR1.TmpTopBx.mag.f | Rocky Ridge 34.5 WTB06 Temp. top box (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.DBB10.WTUR1.TurAvl.stVal | Rocky Ridge 34.5 WTB06 WTG Availability | Status | ON | 0 | 0
USWRCKY.MAB006.DBB10.WTUR1.TurSt.stVal | Rocky Ridge 34.5 WTB06 Operating State | Status | ON | 0 | 0
USWRCKY.MAB006.DBB10.WYAW1.CmdYwLeft.stVal | Rocky Ridge 34.5 WTB06 CMD Turn Yaw Left | Status | ON | 0 | 0
USWRCKY.MAB006.DBB10.WYAW1.CmdYwRght.stVal | Rocky Ridge 34.5 WTB06 CMD Turn Yaw Right | Status | ON | 0 | 0
USWRCKY.MAB006.DBB10.WYAW1.CmdYwStop.stVal | Rocky Ridge 34.5 WTB06 CMD Stop Turning Yaw | Status | ON | 0 | 0
USWRCKY.MAB006.DBF10.WTUR1.AlmCod.stVal | Rocky Ridge 34.5 WTB06 State and Fault | Status | ON | 0 | 0
USWRCKY.MAB006.MDA10.BG001.WROT1.Bl1PthAngTgt.mag.f | Rocky Ridge 34.5 WTB06 Blade 1 pitch angle setpoint (deg) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MDA10.BG001.WROT1.Bl1PthAngVal.mag.f | Rocky Ridge 34.5 WTB06 Blade 1 pitch angle (deg) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MDA10.BG002.WROT1.Bl2PthAngTgt.mag.f | Rocky Ridge 34.5 WTB06 Blade 2 pitch angle setpoint (deg) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MDA10.BG002.WROT1.Bl2PthAngVal.mag.f | Rocky Ridge 34.5 WTB06 Blade 2 pitch angle (deg) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MDA10.BG003.WROT1.Bl3PthAngTgt.mag.f | Rocky Ridge 34.5 WTB06 Blade 3 pitch angle setpoint (deg) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MDA10.BG003.WROT1.Bl3PthAngVal.mag.f | Rocky Ridge 34.5 WTB06 Blade 3 pitch angle (deg) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MDA20.BS901.WGEN1.RotSpdSpt.val.mxVal.f | Rocky Ridge 34.5 WTB06 Gen. speed setpoint, pitch (rpm) | Measurement | ON | 0.3 | 0.15
USWRCKY.MAB006.MDA20.BS901.WROT1.RotSpd.mag.f | Rocky Ridge 34.5 WTB06 Rotor speed, PLC (rpm) | Measurement | ON | 0.3 | 0.15
USWRCKY.MAB006.MDK10.BS001.WTRM1.ShftVbr.mag.f | Rocky Ridge 34.5 WTB06 Drive train acceleration (mm/s^2) | Measurement | ON | 0.001 | 0
USWRCKY.MAB006.MDK10.BT001.WTRM1.GbxBrg1Tmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. gearbox bearing (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.MDK20.BT001.WTRM1.GbxTmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. gearbox oil (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.MDK50.BT001.WTRM1.GbxBrgTmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. main shaft bearing (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.MDL10.BG001.WYAW1.CabWup.mag.f | Rocky Ridge 34.5 WTB06 Nacelle yaw position | Measurement | ON | 0 | 0
USWRCKY.MAB006.MKA30.BT001.WGEN1.SttTmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. gen. stator winding 1 (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.MKA30.BT002.WGEN1.RotTmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. gen. stator winding 2 (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.MKA40.BS901.WGEN1.RotSpd.mag.f | Rocky Ridge 34.5 WTB06 Generator speed, PLC (rpm) | Measurement | ON | 0.3 | 0.15
USWRCKY.MAB006.MKA40.BS901.WGEN1.RotSpdSpt2.val.mxVal.f | Rocky Ridge 34.5 WTB06 Gen. speed setpoint, torque (rpm) | Measurement | ON | 0.3 | 0.15
USWRCKY.MAB006.MKA40.CS901.WCNV1.CnvGnRotSpd.mag.f | Rocky Ridge 34.5 WTB06 Generator speed, CCU (rpm) | Measurement | ON | 0.3 | 0.15
USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsAGriA.cVal.mag.f | Rocky Ridge 34.5 WTB06 Current A (A) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsBGriA.cVal.mag.f | Rocky Ridge 34.5 WTB06 Current B (A) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MKC10.BC001.WCNV1.PhsCGriA.cVal.mag.f | Rocky Ridge 34.5 WTB06 Current C (A) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MKC10.BJ011.WTUR1.VAr.mag.f | Rocky Ridge 34.5 WTB06 Reactive power (kVAr) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MKD21.BT001.WGEN1.Brg1Tmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. generator bearing DS (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.MKD22.BT001.WGEN1.Brg2Tmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. generator bearing NDS (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.MKJ10.BT001.WGEN1.InletTmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. gen. cooling system (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.MKY10.BJ031.WCNV1.GriPF.cVal.mag.f | Rocky Ridge 34.5 WTB06 Power factor | Measurement | ON | 0 | 0
USWRCKY.MAB006.MUD10.BG001.WNAC1.Dir.mag.f | Rocky Ridge 34.5 WTB06 Nacelle yaw direction (deg) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.MUD10.BT001.WNAC1.IntnTmp.mag.f | Rocky Ridge 34.5 WTB06 Nacelle temp. (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.MYA10.KF003.WTUR1.ComSt.stVal | Rocky Ridge 34.5 WTB06 Communication Status | Status | ON | 0 | 0
USWRCKY.MAB006.UMD10.BG001.WMET1.InsWdDir.mag.f | Rocky Ridge 34.5 WTB06 Wind direction (deg) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.UMD10.BS001.WMET1.HorWdSpd.mag.f | Rocky Ridge 34.5 WTB06 Wind speed (m/s) | Measurement | ON | 0.5 | 0.25
USWRCKY.MAB006.UMD10.BS011.WROT1.NacDv1sec.mag.f | Rocky Ridge 34.5 WTB06 Relative wind direction 1 s (deg) | Measurement | ON | 0.1 | 0
USWRCKY.MAB006.UMD10.BS011.WTOW1.TowVbr.mag.f | Rocky Ridge 34.5 WTB06 Tower acceleration (mm/s^2) | Measurement | ON | 0.001 | 0
USWRCKY.MAB006.UMD10.BT001.WMET1.EnvTmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. ambient, hub level (deg C) | Measurement | ON | 0.3 | 0.1
USWRCKY.MAB006.UMD29.BT001.WMET1.GndEnvTmp.mag.f | Rocky Ridge 34.5 WTB06 Temp. ambient, ground level (deg C) | Measurement | ON | 0.3 | 0.1